## Constants
base_addr | variable_name | addr_offset | type | init_value | hmi_tag | comment | retain
20000 | shelf_no | 1 | WORD | 12 | x | total number of shelf
| snsr_no | 1 | WORD | 162
| snsr_data_reg_size | 1 | WORD | 6
| k_shelf_reg_size | 1 | WORD | 12 | x | how many register one shelf_data occupies
| k_shelf_modeIndexOffset | 1 | WORD | 0 |  | offset from shelf_x_addr to get shelf_x_mode
| k_shelf_autoWaterOnIndexOffset | 1 | WORD | 1 |  | offset from shelf_x_addr to get shelf_x_autoWaterOn
| k_shelf_autoLightOnIndexOffset | 1 | WORD | 2 |  | offset from shelf_x_addr to get shelf_x_autoLightOn
| k_shelf_autoLightIntensOffset | 1 | WORD | 3 |  | offset from shelf_x_addr to get shelf_x_autoLightIntens
| k_shelf_semiPVOnIndexOffset | 1 | WORD | 4 |  | offset from shelf_x_addr to get shelf_x_semiPVOn
| k_shelf_semiLightOnIndexOffset | 1 | WORD | 5 |  | offset from shelf_x_addr to get shelf_x_semiLightOn
| k_shelf_manuLightOnIndexOffset | 1 | WORD | 6 |  | offset from shelf_x_addr to get shelf_x_manuLightOn
| k_shelf_manuLightIntensIndexOffset | 1 | WORD | 7 |  | offset from shelf_x_addr to get shelf_x_manuLightIntens
| k_shelf_manuPvPosIndexOffset | 1 | WORD | 8 |  | offset from shelf_x_addr to get shelf_x_manuPVPos
| k_shelf_baseAddr | 1 | WORD | 10000 |  | baseAddr of all shelves
| PVLookup_Arr | 14 | ARRAY [14] OF WORD | [14(0)] | x | PV look-up values when only 1 valves are on
| ShelfSectionMapping_0_Arr | 14 | ARRAY [14] OF WORD | [14(0)] | x | configure which shelves should belong to sec0
| ShelfSectionMapping_1_Arr | 14 | ARRAY [14] OF WORD | [14(0)] | x | configure which shelves should belong to sec0
| secModeArr | 2 | ARRAY [2] OF WORD | [2(0)] | x | secMode[0] : section 0 mode etc.
| sectionPvOnCountArr | 2 | ARRAY [2] OF WORD | [2(0)] |  | secPvCountArr[0]: number of PV to turn on in section 0
| k_sectionNo | 1 | WORD | 1 |  | total number of sections
| k_sectionMaxShelfNo | 1 | WORD | 12 |  | maximum number of shelves per section
| flowratePerShelf_local | 1 | WORD | 32 |  | flowrate per shelf in lpm
| k_enablePumpRedundancy | 1 | BOOL | FALSE |  | whether to enable pump redundancy
| main_current_state | 14 | ARRAY [14] OF INT | [14(0)] |  | Main state machine current state (for each instance)
| main_next_state | 14 | ARRAY [14] OF INT | [14(0)] |  | Main state machine next state (for each instance)
| transition_current_state | 14 | ARRAY [14] OF INT | [14(0)] |  | PV transition state machine current state (for each instance)
| transition_next_state | 14 | ARRAY [14] OF INT | [14(0)] |  | PV transition state machine next state (for each instance)
| PVChangeMode | 1 | INT | 0
| delay_counter | 14 | ARRAY [14] OF WORD | [14(0)] |  | Counter for delays
| lastPVvalue | 14 | ARRAY [14] OF WORD | [14(0)] |  | Store last PV value for comparison whether to run PV change sequence or not
| pump_rampup_current_state | 2 | ARRAY [2] OF INT | [2(0)] |  | Pump ramp up state machine state
| pump_rampup_next_state | 2 | ARRAY [2] OF INT | [2(0)] |  | Pump ramp up state machine next state
| pump_rampup_current_value | 2 | ARRAY [2] OF WORD | [2(0)] |  | Pump ramp up value
| lastPumpTargetValue | 2 | ARRAY [2] OF WORD | [2(0)] |  | Pump ramp up previous value
| bRunPumpRampup | 2 | ARRAY [2] OF BOOL | [2(FALSE)] |  | Flag for each pump
| stat_water_vfd_power1 | 1 | BOOL | TRUE | x | Status for VFD power
| stat_water_vfd_comm1 | 1 | BOOL | TRUE | x | Status for VFD Comm
| stat_water_vfd_motor1 | 1 | BOOL | TRUE | x | Status for water system
| stat_water_vfd_pid1 | 1 | BOOL | TRUE | x | Status for water system
| stat_water_vfd_overload1 | 1 | BOOL | TRUE | x | Status for water system
| stat_water_vfd_other1 | 1 | BOOL | TRUE | x | Other VFD error
| stat_water_shelf_valvefault1 | 1 | BOOL | TRUE | x | Status for water system
| stat_water_shelf_overflow1 | 1 | BOOL | TRUE | x | Status for water system
| stat_water_temp_range1 | 1 | BOOL | TRUE | x | Status for water system
| stat_water_tank_levellow1 | 1 | BOOL | TRUE | x | Status for water system
| stat_water_tank_levelhigh1 | 1 | BOOL | TRUE | x | Status for water system
| stat_water_tank_sensor_unison1 | 1 | BOOL | TRUE | x | Status for water system
| stat_light_burned1 | 1 | BOOL | TRUE | x | Status for lighting system
| stat_light_powertrip1 | 1 | BOOL | TRUE | x | Status for lighting system
| stat_vent_vfd_comm1 | 1 | BOOL | TRUE | x | Status for ventilation system
| stat_vent_vfd_power1 | 1 | BOOL | TRUE | x | Status for ventilation system
| stat_vent_vfd_motor1 | 1 | BOOL | TRUE | x | Status for ventilation system
| stat_vent_vfd_overload1 | 1 | BOOL | TRUE | x | Status for ventilation system
| stat_vent_vfd_status_code | 1 | WORD | 0 | x | Ventilation VFD status code
| stat_vent_air_offline1 | 1 | BOOL | TRUE | x | Status for ventilation system
| stat_vent_air_deviation1 | 1 | BOOL | TRUE | x | Status for ventilation system
| stat_vent_air_humidity1 | 1 | BOOL | TRUE | x | Status for ventilation system
| stat_vent_air_co2 | 1 | BOOL | TRUE | x | Status for ventilation system
| stat_vent_air_temp1 | 1 | BOOL | TRUE | x | Status for ventilation system
| stat_alarm_clear | 1 | BOOL | TRUE | x | Global alarm indicator
| stat_plc1_system | 1 | BOOL | TRUE | x | PLC1 system
| stat_plc1_io | 1 | BOOL | TRUE | x | PLC1 IO
| tmpCounter | 1 | INT | 0
| CONST_WATER_RANGE_MAX | 1 | WORD | 0 | x | Checking water temperature range
| CONST_WATER_RANGE_MIN | 1 | WORD | 0 | x | Checking water temperature range
| tmpReal | 2 | REAL | 0
| pumpFillDrainMode | 2 | ARRAY [2] OF BOOL | [2(FALSE)] | x | Operation mode (FALSE - steady water supply, TRUE - on off mode)
| pumpFillDrainModeOn | 2 | ARRAY [2] OF BOOL | [2(FALSE)] | x | Turn on or off fill-drain mode
| pumpFillValue | 2 | ARRAY [2] OF WORD | [2(0)] | x | Fill-Drain mode Fill values
| pumpDrainValue | 2 | ARRAY [2] OF WORD | [2(0)] | x | Fill-Drain mode Drain values
| pumpFillModeFlag | 2 | ARRAY [2] OF BOOL | [2(FALSE)] | x | Whether it's currently in Fill mode (0) or Drain mode (1)
| pumpFillDrainTimer_s | 2 | ARRAY [2] OF WORD | [2(0)] |  | Temporary counter in seconds to determine the duration of fill and drain
| pumpFillDrainSecondCounter | 2 | ARRAY [2] OF WORD | [2(0)] |  | Temporary counter to get a duration in seconds
| pumpFillDuration_s | 2 | ARRAY [2] OF WORD | [2(0)] | x | Fill duration in seconds
| pumpDrainDuration_s | 2 | ARRAY [2] OF WORD | [2(0)] | x | Drain duration in seconds
| flowratePerShelf | 2 | ARRAY [2] OF WORD | [2(32)] | x | flowrate per shelf in lpm
| pumpFillDrainCountDownTimer_s | 2 | ARRAY [2] OF WORD | [2(0)] | x | Countdown timer
| pumpAbnormalFlag | 2 | ARRAY [2] OF BOOL | [2(FALSE)] | x | Flag indicate something is abnormal
| pumpAbnormalityStartTime | 2 | ARRAY [2] OF WORD | [2(0)] |  | Anormality start time
| pumpAbnormalTermination | 2 | ARRAY [2] OF BOOL | [2(FALSE)] | x | Pump stopped due to prolonged abnormality
| pumpTerminationThreshold_hz | 1 | WORD | 45 | x | Pump threshold in hz before termination
| overflow_last_time | 14 | ARRAY [14] OF WORD | [14(0)] |  | Overflow last reading of SR396 used to determine whether 1 second has elapsed
| overflow_counter | 14 | ARRAY [14] OF WORD | [14(0)] |  | Overflow timer
| waterTempOffset | 24 | ARRAY [24] OF WORD | [24(0)] | x | Offset to water temperature
| waterTempOffsetNegative | 24 | ARRAY [24] OF BOOL | [24(FALSE)] | x | True if negative offset
| waterTempFinal | 24 | ARRAY [24] OF WORD | [24(0)] | x | Water temp after offset is included

## Shelf
base_addr | variable_name | addr_offset | type | init_value | hmi_tag | comment | retain
10000 | mode | 1 | WORD | 2 | x | shelf_x mode auto-1, semi-2, manual-3 |  | If there's any changes made here, please update accordingly in CONSTANTS sheet
| autoWaterOn | 1 | BOOL | FALSE | x
| autoLightOn | 1 | BOOL | FALSE | x
| autoLightIntensity | 1 | WORD | 0 | x
| semiPVOn | 1 | BOOL | FALSE | x
| semiLightOn | 1 | BOOL | FALSE | x
| manuLightOn | 1 | BOOL | FALSE | x
| manuLightIntensity | 1 | WORD | 0 | x
| manuPVPos | 1 | WORD | 0 | x
| exePVPos | 1 | WORD | 0
| exeLightIntensity | 1 | WORD | 0
| exeLightOn | 1 | WORD | 0

## Sensor List
base_addr | shelf_sensor | general_sensor
12000 | wPres0 | wFlow0
| wPres1 | wFlow1
| wPres2 | aFlow0
| wTemp0 | aFlow1
| wTemp1 | aFlow2
aFlow3
aFlow4
aFlow5
aFlow6
aFlow7
aFlow8
aFlow9
aFlow10
aFlow11
aFlow12
aFlow13
aFlow14
aFlow15
aFlow16
aFlow17
aFlow18
aFlow19
aFlow20
aFlow21
aFlow22
aFlow23
aFlow24
aTemp0
aTemp1
aTemp2
aTemp3
aTemp4
aTemp5
aTemp6
aTemp7
aTemp8
aTemp9
aTemp10
aTemp11
aTemp12
aTemp13
aTemp14
aTemp15
aTemp16
aTemp17
aTemp18
aTemp19
aTemp20
aTemp21
aTemp22
aTemp23
aTemp24
aCO2_0
aCO2_1
aCO2_2
aCO2_3
aCO2_4
aCO2_5
aCO2_6
aCO2_7
aCO2_8
aCO2_9
aCO2_10
aCO2_11
aCO2_12
aCO2_13
aCO2_14
aCO2_15
aCO2_16
aCO2_17
aCO2_18
aCO2_19
aCO2_20
aCO2_21
aCO2_22
aCO2_23
aCO2_24
aRH_0
aRH_1
aRH_2
aRH_3
aRH_4
aRH_5
aRH_6
aRH_7
aRH_8
aRH_9
aRH_10
aRH_11
aRH_12
aRH_13
aRH_14
aRH_15
aRH_16
aRH_17
aRH_18
aRH_19
aRH_20
aRH_21
aRH_22
aRH_23
aRH_24

## Sensor Data
base_addr | variable_name | addr_offset | type | init_value | hmi_tag | comment | retain
- | value | 1 | WORD | 0
| state | 1 | WORD | 0
| err_u | 1 | WORD | 0
| warn_u | 1 | WORD | 0
| warn_l | 1 | WORD | 0
| err_l | 1 | WORD | 0

## Pump
base_addr | variable_name | addr_offset | type | init_value | hmi_tag | comment | retain
11000 | pump_e_OnArr | 2 | ARRAY [2] OF BOOL | [2(FALSE)] | x
| pump_e_ValveOnArr | 2 | ARRAY [14] OF BOOL | [14(FALSE)] | x
| pump_e_FlowOrRpm | 1 | WORD | 0 | x | 1 - Flow, 2 - RPM
| pump_e_SetpointArr | 2 | ARRAY [2] OF WORD | [2(0)] | x
| pump_h_Mode | 1 | WORD | 0 | x
| pump_h_PumpSelect | 1 | ARRAY [2] OF BOOL | [2(FALSE)] | x
| pump_h_FlowSetArr | 2 | ARRAY [2] OF WORD | [2(0)] | x
| pump_h_RpmSetArr | 2 | ARRAY [2] OF WORD | [2(0)] | x
| pump_ctrlModeFbkArr | 2 | ARRAY [2] OF WORD | [2(0)] | x
| pump_runningFbkArr | 1 | ARRAY [2] OF BOOL | [2(FALSE)] | x
| pump_flowrateFbkArr | 2 | ARRAY [2] OF WORD | [2(0)] | x
| pump_rpmFbkArr | 2 | ARRAY [2] OF WORD | [2(0)] | x

## IO Mapping
variable_name | addr | type | init_value | hmi_tag | comment | retain
IO_valveFault_0 | X0.0 | BOOL | FALSE | x | Valve fault indicator
IO_valveFault_1 | X0.1 | BOOL | FALSE | x | Valve fault indicator
IO_valveFault_2 | X0.2 | BOOL | FALSE | x | Valve fault indicator
IO_valveFault_3 | X0.3 | BOOL | FALSE | x | Valve fault indicator
IO_valveFault_4 | X0.4 | BOOL | FALSE | x | Valve fault indicator
IO_valveFault_5 | X0.5 | BOOL | FALSE | x | Valve fault indicator
IO_valveFault_6 | X0.6 | BOOL | FALSE | x | Valve fault indicator
IO_valveFault_7 | X0.7 | BOOL | FALSE | x | Valve fault indicator
IO_valveFault_8 | X0.8 | BOOL | FALSE | x | Valve fault indicator
IO_valveFault_9 | X0.9 | BOOL | FALSE | x | Valve fault indicator
IO_valveFault_10 | X0.10 | BOOL | FALSE | x | Valve fault indicator
IO_valveFault_11 | X0.11 | BOOL | FALSE | x | Valve fault indicator
IO_valveFault_12 | X0.12 | BOOL | FALSE | x | Valve fault indicator
IO_valveFault_13 | X0.13 | BOOL | FALSE | x | Valve fault indicator
IO_waterLevel_0 | X0.14 | BOOL | FALSE | x | Water level
IO_waterLevel_1 | X0.15 | BOOL | FALSE | x | Water level
IO_overflowSensor_0 | X1.0 | BOOL |  |  | Gutter overflow sensor
IO_overflowSensor_1 | X1.1 | BOOL |  |  | Gutter overflow sensor
IO_overflowSensor_2 | X1.2 | BOOL |  |  | Gutter overflow sensor
IO_overflowSensor_3 | X1.3 | BOOL |  |  | Gutter overflow sensor
IO_overflowSensor_4 | X1.4 | BOOL |  |  | Gutter overflow sensor
IO_overflowSensor_5 | X1.5 | BOOL |  |  | Gutter overflow sensor
IO_overflowSensor_6 | X1.6 | BOOL |  |  | Gutter overflow sensor
IO_overflowSensor_7 | X1.7 | BOOL |  |  | Gutter overflow sensor
IO_overflowSensor_8 | X1.8 | BOOL |  |  | Gutter overflow sensor
IO_overflowSensor_9 | X1.9 | BOOL |  |  | Gutter overflow sensor
IO_overflowSensor_10 | X1.10 | BOOL |  |  | Gutter overflow sensor
IO_overflowSensor_11 | X1.11 | BOOL |  |  | Gutter overflow sensor
IO_overflowSensor_12 | X1.12 | BOOL |  |  | Gutter overflow sensor
IO_overflowSensor_13 | X1.13 | BOOL |  |  | Gutter overflow sensor
IO_overflowSensor_14 | X1.14 | BOOL |  |  | Gutter overflow sensor
IO_overflowSensor_15 | X1.15 | BOOL |  |  | Gutter overflow sensor
IO_overflowSensor_16 | X2.0 | BOOL |  |  | Gutter overflow sensor
IO_overflowSensor_17 | X2.1 | BOOL |  |  | Gutter overflow sensor
IO_overflowSensor_18 | X2.2 | BOOL |  |  | Gutter overflow sensor
IO_overflowSensor_19 | X2.3 | BOOL |  |  | Gutter overflow sensor
IO_overflowSensor_20 | X2.4 | BOOL |  |  | Gutter overflow sensor
IO_overflowSensor_21 | X2.5 | BOOL |  |  | Gutter overflow sensor
IO_overflowSensor_22 | X2.6 | BOOL |  |  | Gutter overflow sensor
IO_overflowSensor_23 | X2.7 | BOOL |  |  | Gutter overflow sensor
IO_overflowSensor_24 | X2.8 | BOOL |  |  | Gutter overflow sensor
IO_overflowSensor_25 | X2.9 | BOOL |  |  | Gutter overflow sensor
IO_overflowSensor_26 | X2.10 | BOOL |  |  | Gutter overflow sensor
IO_overflowSensor_27 | X2.11 | BOOL |  |  | Gutter overflow sensor
IO_waterLevel_2 | X2.12 | BOOL | FALSE | x | Water level full
IO_waterLevel_3 | X2.13 | BOOL | FALSE | x | Water level full
IO_waterLevel_4 | X2.14 | BOOL | FALSE | x | Water level overflow
IO_waterLevel_5 | X2.15 | BOOL | FALSE | x | Water level overflow
IO_ledFeedback_0 | X3.0 | BOOL |  |  | LED contractor feedback
IO_ledFeedback_1 | X3.1 | BOOL |  |  | LED contractor feedback
IO_ledFeedback_2 | X3.2 | BOOL |  |  | LED contractor feedback
IO_ledFeedback_3 | X3.3 | BOOL |  |  | LED contractor feedback
IO_ledFeedback_4 | X3.4 | BOOL |  |  | LED contractor feedback
IO_ledFeedback_5 | X3.5 | BOOL |  |  | LED contractor feedback
IO_ledFeedback_6 | X3.6 | BOOL |  |  | LED contractor feedback
IO_ledFeedback_7 | X3.7 | BOOL |  |  | LED contractor feedback
IO_ledFeedback_8 | X3.8 | BOOL |  |  | LED contractor feedback
IO_ledFeedback_9 | X3.9 | BOOL |  |  | LED contractor feedback
IO_ledFeedback_10 | X3.10 | BOOL |  |  | LED contractor feedback
IO_ledFeedback_11 | X3.11 | BOOL |  |  | LED contractor feedback
IO_ledFeedback_12 | X3.12 | BOOL |  |  | LED contractor feedback
IO_ledFeedback_13 | X3.13 | BOOL |  |  | LED contractor feedback
IO_shelfLeakSensor_0 | X3.14 | BOOL |  |  | Shelf leak sensor
IO_shelfLeakSensor_1 | X3.15 | BOOL |  |  | Shelf leak sensor
IO_shelfLeakSensor_2 | X4.0 | BOOL |  |  | Shelf leak sensor
IO_shelfLeakSensor_3 | X4.1 | BOOL |  |  | Shelf leak sensor
IO_shelfLeakSensor_4 | X4.2 | BOOL |  |  | Shelf leak sensor
IO_shelfLeakSensor_5 | X4.3 | BOOL |  |  | Shelf leak sensor
IO_shelfLeakSensor_6 | X4.4 | BOOL |  |  | Shelf leak sensor
IO_shelfLeakSensor_7 | X4.5 | BOOL |  |  | Shelf leak sensor
IO_shelfLeakSensor_8 | X4.6 | BOOL |  |  | Shelf leak sensor
IO_shelfLeakSensor_9 | X4.7 | BOOL |  |  | Shelf leak sensor
IO_shelfLeakSensor_10 | X4.8 | BOOL |  |  | Shelf leak sensor
IO_shelfLeakSensor_11 | X4.9 | BOOL |  |  | Shelf leak sensor
IO_shelfLeakSensor_12 | X4.10 | BOOL |  |  | Shelf leak sensor
IO_shelfLeakSensor_13 | X4.11 | BOOL |  |  | Shelf leak sensor
IO_pumpContact_0 | X4.12 | BOOL |  |  | Pump contact
IO_pumpContact_1 | X4.13 | BOOL |  |  | Pump contact
Spare1 | X4.14 | BOOL
Spare2 | X4.15 | BOOL
IO_lightOnOff_0 | Y0.0 | BOOL | FALSE |  | Light control
IO_lightOnOff_1 | Y0.1 | BOOL | FALSE |  | Light control
IO_lightOnOff_2 | Y0.2 | BOOL | FALSE |  | Light control
IO_lightOnOff_3 | Y0.3 | BOOL | FALSE |  | Light control
IO_lightOnOff_4 | Y0.4 | BOOL | FALSE |  | Light control
IO_lightOnOff_5 | Y0.5 | BOOL | FALSE |  | Light control
IO_lightOnOff_6 | Y0.6 | BOOL | FALSE |  | Light control
IO_lightOnOff_7 | Y0.7 | BOOL | FALSE |  | Light control
IO_lightOnOff_8 | Y0.8 | BOOL | FALSE |  | Light control
IO_lightOnOff_9 | Y0.9 | BOOL | FALSE |  | Light control
IO_lightOnOff_10 | Y0.10 | BOOL | FALSE |  | Light control
IO_lightOnOff_11 | Y0.11 | BOOL | FALSE |  | Light control
IO_lightOnOff_12 | Y0.12 | BOOL | FALSE |  | Light control
IO_lightOnOff_13 | Y0.13 | BOOL | FALSE |  | Light control
Spare3 | Y0.14 | BOOL
Spare4 | Y0.15 | BOOL
IO_pvControl_0 | D28000 | WORD | 0 |  | PV value
IO_pvControl_1 | D28002 | WORD | 0 |  | PV value
IO_pvControl_2 | D28004 | WORD | 0 |  | PV value
IO_pvControl_3 | D28006 | WORD | 0 |  | PV value
IO_pvControl_4 | D28008 | WORD | 0 |  | PV value
IO_pvControl_5 | D28010 | WORD | 0 |  | PV value
IO_pvControl_6 | D28012 | WORD | 0 |  | PV value
IO_pvControl_7 | D28014 | WORD | 0 |  | PV value
IO_pvControl_8 | D28016 | WORD | 0 |  | PV value
IO_pvControl_9 | D28018 | WORD | 0 |  | PV value
IO_pvControl_10 | D28020 | WORD | 0 |  | PV value
IO_pvControl_11 | D28022 | WORD | 0 |  | PV value
IO_pvControl_12 | D28024 | WORD | 0 |  | PV value
IO_pvControl_13 | D28026 | WORD | 0 |  | PV value
Unused1 | D28028 | WORD | 0
Unused2 | D28030 | WORD | 0
IO_lightIntensity_0 | D28362 | WORD | -1
IO_lightIntensity_1 | D28364 | WORD | -1
IO_lightIntensity_2 | D28366 | WORD | -1
IO_lightIntensity_3 | D28368 | WORD | -1
IO_lightIntensity_4 | D28382 | WORD | -1
IO_lightIntensity_5 | D28384 | WORD | -1
IO_lightIntensity_6 | D28386 | WORD | -1
IO_lightIntensity_7 | D28388 | WORD | -1
IO_lightIntensity_8 | D28402 | WORD | -1
IO_lightIntensity_9 | D28404 | WORD | -1
IO_lightIntensity_10 | D28406 | WORD | -1
IO_lightIntensity_11 | D28408 | WORD | -1
IO_lightIntensity_12 | D28410 | WORD | -1
IO_lightIntensity_13 | D28412 | WORD | -1
MB_pump0_wStartStop | D25150 | WORD | -1 | x | VFD status
MB_pump0_wFreqCmd | D25151 | WORD | -1
MB_pump0_wInputSrc | D25152 | WORD | -1 |  | History of faults
MB_pump0_wPidFbkTerm | D25153 | WORD | -1 |  | Start stop
MB_pump0_wPidTrgtSrc | D25154 | WORD | -1 | x | Frequency command
MB_pump0_wPidTrgtVal | D25155 | WORD | -1 |  | Freq command source
MB_pump0_rOutputHz | D25102 | WORD | -1 |  | Terminal session for PID feedback
MB_pump0_rAciVal | D25112 | WORD | -1 |  | PID target source
MB_pump0_rVfdStatus | D25001 | WORD | -1 |  | PID target value
MB_pump0_rVfdMode | D25135 | WORD | -1 |  | Actual output freq
MB_pump0_faultRecord | D25160 | ARRAY [10] OF WORD | [10(-1)] |  | ACI val
MB_pump1_wStartStop | D25350 | WORD | -1 | x | VFD status
MB_pump1_wFreqCmd | D25351 | WORD | -1
MB_pump1_wInputSrc | D25352 | WORD | -1 |  | History of faults
MB_pump1_wPidFbkTerm | D25353 | WORD | -1 |  | Start stop
MB_pump1_wPidTrgtSrc | D25354 | WORD | -1 | x | Frequency command
MB_pump1_wPidTrgtVal | D25355 | WORD | -1 |  | Freq command source
MB_pump1_rOutputHz | D25302 | WORD | -1 |  | Terminal session for PID feedback
MB_pump1_rAciVal | D25312 | WORD | -1 |  | PID target source
MB_pump1_rVfdStatus | D25201 | WORD | -1 |  | PID target value
MB_pump1_rVfdMode | D25335 | WORD | -1 |  | Actual output freq
MB_pump1_faultRecord | D25360 | ARRAY [10] OF WORD | [10(-1)] |  | ACI val
MB_EmergencyStop | D25600.0 | BOOL | FALSE | x | Humdity reading
Xfer_airflowVfdStartStop | D29000 | WORD | -1 | x | CO2 reading
Xfer_airflowVfdFreqCmd | D29001 | WORD | -1 | x | Anemometer error (0 = no error)
Xfer_airflowVfdInputSrc | D29002 | WORD | -1 | x | AQM sensor error (0 = no error)
Xfer_airflowVfdStatusMonitor | D29003 | ARRAY [23] OF WORD | [23(-1)] | x | PLC2 VFD error
sensorWindSpeed | D26000 | ARRAY [30] OF WORD | [30(0)] |  | PLC2 IO error
aqmSensorTemperature | D26100 | ARRAY [30] OF WORD | [30(0)] |  | PLC2 COM error
aqmSensorHumidity | D26200 | ARRAY [30] OF WORD | [30(0)] |  | Overflow indicator sensor
aqmSensorCO2 | D26300 | ARRAY [30] OF WORD | [30(0)]
errAnemometer | D26400 | ARRAY [30] OF WORD | [30(0)]
errAQM | D26500 | ARRAY [30] OF WORD | [30(0)]
errorAirVFD | D27000 | WORD | 0
errorPLC2system | D27001 | WORD | 0
errorPLC2io | D27002 | WORD | 0
errorPLC2com | D27003 | WORD | 0
IO_Overflow | D27004.0 | ARRAY [12] OF BOOL | [12(TRUE)]
tmpConversionFloat | D200 | REAL | 0 | x | PLC2 system error
IO_waterTemp_0 | D2400 | WORD | 0 | x | Water Temperature
IO_waterTemp_1 | D2402 | WORD | 0 | x | Water Temperature
IO_waterTemp_2 | D2404 | WORD | 0 | x | Water Temperature
IO_waterTemp_3 | D2406 | WORD | 0 | x | Water Temperature

## HMI Internal
base_addr | var_name | var_type | addr_offset | comment | retain
1000 | PUMP_0_SELECTED | BIT | 1
| PUMP_1_SELECTED | BIT | 1
| PUMP_2_SELECTED | BIT | 1
| PUMP_CHECK | WORD | 1
| PUMP_LOCK_SEMI_PART | BIT | 1
| PUMP_LOCK_MANU_PART | BIT | 1
| DUMMY_BIT | BIT | 1
| DUMMY_WORD0 | WORD | 1
| DUMMY_WORD1 | WORD | 1
| DUMMY_WORD2 | WORD | 1
| STRING | WORD | 20
| DUMMY_BIT_TRUE | BIT | 1
| DUMMY_BIT_FALSE | BIT | 1
| SEC0_LOCK_SEMI_PART | BIT | 1
| SEC0_LOCK_MANU_PART | BIT | 1
| SEC1_LOCK_SEMI_PART | BIT | 1
| SEC1_LOCK_MANU_PART | BIT | 1
| SEC2_LOCK_SEMI_PART | BIT | 1
| SEC2_LOCK_MANU_PART | BIT | 1
| SEC0_LOCK_LIGHT | BIT | 1
| SEC1_LOCK_LIGHT | BIT | 1
| SEC2_LOCK_LIGHT | BIT | 1
| SHELF_AUTO_WATER_REG_SIZE | WORD | 12
| SHELF_AUTO_CURRENT_NO | WORD | 1
| SHELF_AUTO_PLC_OFFSET_ADDR | WORD | 1
| SHELF_AUTO_OFFSET_ADDR | WORD | 1
| S0_WATER_ON_HH | WORD | 1
| S0_WATER_ON_MM | WORD | 1
| S0_WATER_OFF_HH | WORD | 1
| S0_WATER_OFF_MM | WORD | 1
| S0_WATER_IGNORE_SCHEDULE | BIT | 1
| S0_WATER_ALWAYS_ON | BIT | 1
| S0_LIGHT_ON_HH | WORD | 1
| S0_LIGHT_ON_MM | WORD | 1
| S0_LIGHT_OFF_HH | WORD | 1
| S0_LIGHT_OFF_MM | WORD | 1
| S0_LIGHT_IGNORE_SCHEDULE | BIT | 1
| S0_LIGHT_ALWAYS_ON | BIT | 1
| S1_WATER_ON_HH | WORD | 1
| S1_WATER_ON_MM | WORD | 1
| S1_WATER_OFF_HH | WORD | 1
| S1_WATER_OFF_MM | WORD | 1
| S1_WATER_IGNORE_SCHEDULE | BIT | 1
| S1_WATER_ALWAYS_ON | BIT | 1
| S1_LIGHT_ON_HH | WORD | 1
| S1_LIGHT_ON_MM | WORD | 1
| S1_LIGHT_OFF_HH | WORD | 1
| S1_LIGHT_OFF_MM | WORD | 1
| S1_LIGHT_IGNORE_SCHEDULE | BIT | 1
| S1_LIGHT_ALWAYS_ON | BIT | 1
| S2_WATER_ON_HH | WORD | 1
| S2_WATER_ON_MM | WORD | 1
| S2_WATER_OFF_HH | WORD | 1
| S2_WATER_OFF_MM | WORD | 1
| S2_WATER_IGNORE_SCHEDULE | BIT | 1
| S2_WATER_ALWAYS_ON | BIT | 1
| S2_LIGHT_ON_HH | WORD | 1
| S2_LIGHT_ON_MM | WORD | 1
| S2_LIGHT_OFF_HH | WORD | 1
| S2_LIGHT_OFF_MM | WORD | 1
| S2_LIGHT_IGNORE_SCHEDULE | BIT | 1
| S2_LIGHT_ALWAYS_ON | BIT | 1
| S3_WATER_ON_HH | WORD | 1
| S3_WATER_ON_MM | WORD | 1
| S3_WATER_OFF_HH | WORD | 1
| S3_WATER_OFF_MM | WORD | 1
| S3_WATER_IGNORE_SCHEDULE | BIT | 1
| S3_WATER_ALWAYS_ON | BIT | 1
| S3_LIGHT_ON_HH | WORD | 1
| S3_LIGHT_ON_MM | WORD | 1
| S3_LIGHT_OFF_HH | WORD | 1
| S3_LIGHT_OFF_MM | WORD | 1
| S3_LIGHT_IGNORE_SCHEDULE | BIT | 1
| S3_LIGHT_ALWAYS_ON | BIT | 1
| S4_WATER_ON_HH | WORD | 1
| S4_WATER_ON_MM | WORD | 1
| S4_WATER_OFF_HH | WORD | 1
| S4_WATER_OFF_MM | WORD | 1
| S4_WATER_IGNORE_SCHEDULE | BIT | 1
| S4_WATER_ALWAYS_ON | BIT | 1
| S4_LIGHT_ON_HH | WORD | 1
| S4_LIGHT_ON_MM | WORD | 1
| S4_LIGHT_OFF_HH | WORD | 1
| S4_LIGHT_OFF_MM | WORD | 1
| S4_LIGHT_IGNORE_SCHEDULE | BIT | 1
| S4_LIGHT_ALWAYS_ON | BIT | 1
| S5_WATER_ON_HH | WORD | 1
| S5_WATER_ON_MM | WORD | 1
| S5_WATER_OFF_HH | WORD | 1
| S5_WATER_OFF_MM | WORD | 1
| S5_WATER_IGNORE_SCHEDULE | BIT | 1
| S5_WATER_ALWAYS_ON | BIT | 1
| S5_LIGHT_ON_HH | WORD | 1
| S5_LIGHT_ON_MM | WORD | 1
| S5_LIGHT_OFF_HH | WORD | 1
| S5_LIGHT_OFF_MM | WORD | 1
| S5_LIGHT_IGNORE_SCHEDULE | BIT | 1
| S5_LIGHT_ALWAYS_ON | BIT | 1
| S6_WATER_ON_HH | WORD | 1
| S6_WATER_ON_MM | WORD | 1
| S6_WATER_OFF_HH | WORD | 1
| S6_WATER_OFF_MM | WORD | 1
| S6_WATER_IGNORE_SCHEDULE | BIT | 1
| S6_WATER_ALWAYS_ON | BIT | 1
| S6_LIGHT_ON_HH | WORD | 1
| S6_LIGHT_ON_MM | WORD | 1
| S6_LIGHT_OFF_HH | WORD | 1
| S6_LIGHT_OFF_MM | WORD | 1
| S6_LIGHT_IGNORE_SCHEDULE | BIT | 1
| S6_LIGHT_ALWAYS_ON | BIT | 1
| S7_WATER_ON_HH | WORD | 1
| S7_WATER_ON_MM | WORD | 1
| S7_WATER_OFF_HH | WORD | 1
| S7_WATER_OFF_MM | WORD | 1
| S7_WATER_IGNORE_SCHEDULE | BIT | 1
| S7_WATER_ALWAYS_ON | BIT | 1
| S7_LIGHT_ON_HH | WORD | 1
| S7_LIGHT_ON_MM | WORD | 1
| S7_LIGHT_OFF_HH | WORD | 1
| S7_LIGHT_OFF_MM | WORD | 1
| S7_LIGHT_IGNORE_SCHEDULE | BIT | 1
| S7_LIGHT_ALWAYS_ON | BIT | 1
| S8_WATER_ON_HH | WORD | 1
| S8_WATER_ON_MM | WORD | 1
| S8_WATER_OFF_HH | WORD | 1
| S8_WATER_OFF_MM | WORD | 1
| S8_WATER_IGNORE_SCHEDULE | BIT | 1
| S8_WATER_ALWAYS_ON | BIT | 1
| S8_LIGHT_ON_HH | WORD | 1
| S8_LIGHT_ON_MM | WORD | 1
| S8_LIGHT_OFF_HH | WORD | 1
| S8_LIGHT_OFF_MM | WORD | 1
| S8_LIGHT_IGNORE_SCHEDULE | BIT | 1
| S8_LIGHT_ALWAYS_ON | BIT | 1
| S9_WATER_ON_HH | WORD | 1
| S9_WATER_ON_MM | WORD | 1
| S9_WATER_OFF_HH | WORD | 1
| S9_WATER_OFF_MM | WORD | 1
| S9_WATER_IGNORE_SCHEDULE | BIT | 1
| S9_WATER_ALWAYS_ON | BIT | 1
| S9_LIGHT_ON_HH | WORD | 1
| S9_LIGHT_ON_MM | WORD | 1
| S9_LIGHT_OFF_HH | WORD | 1
| S9_LIGHT_OFF_MM | WORD | 1
| S9_LIGHT_IGNORE_SCHEDULE | BIT | 1
| S9_LIGHT_ALWAYS_ON | BIT | 1
| S0_PLC_WORD_ADDR_OFFSET | WORD | 1
| S1_PLC_WORD_ADDR_OFFSET | WORD | 1
| S2_PLC_WORD_ADDR_OFFSET | WORD | 1
| S3_PLC_WORD_ADDR_OFFSET | WORD | 1
| S4_PLC_WORD_ADDR_OFFSET | WORD | 1
| S5_PLC_WORD_ADDR_OFFSET | WORD | 1
| S6_PLC_WORD_ADDR_OFFSET | WORD | 1
| S7_PLC_WORD_ADDR_OFFSET | WORD | 1
| S8_PLC_WORD_ADDR_OFFSET | WORD | 1
| S9_PLC_WORD_ADDR_OFFSET | WORD | 1
| S0_PLC_BIT_ADDR_OFFSET | WORD | 1
| S1_PLC_BIT_ADDR_OFFSET | WORD | 1
| S2_PLC_BIT_ADDR_OFFSET | WORD | 1
| S3_PLC_BIT_ADDR_OFFSET | WORD | 1
| S4_PLC_BIT_ADDR_OFFSET | WORD | 1
| S5_PLC_BIT_ADDR_OFFSET | WORD | 1
| S6_PLC_BIT_ADDR_OFFSET | WORD | 1
| S7_PLC_BIT_ADDR_OFFSET | WORD | 1
| S8_PLC_BIT_ADDR_OFFSET | WORD | 1
| S9_PLC_BIT_ADDR_OFFSET | WORD | 1
| VENTILATION_VFD_STATUS_FLAG | BIT | 1
| P0_START_TIME_HH | WORD | 1
| P0_START_TIME_MM | WORD | 1
| P0_END_TIME_HH | WORD | 1
| P0_END_TIME_MM | WORD | 1
| TMPWORD | WORD | 1
| USE_P0_SCHEDULE | BIT | 1

## PLC2 Global
variable_name | addr | type | init_value | comment | retain