## Settings
Address (HMI) | Length
10010 | 37 | Water
10200 | 10 | Windspeed
10300 | 30 | AQM
10400 | 30 | Light
10500 | 22 | Warning

## Water
| Address | Fields
0 | 10010 | Water Temp 0
1 | 10011 | Water Temp 1
2 | 10012 | Water Temp 2
3 | 10013 | Water Temp 3
4 | 10014 | Water Temp 4
5 | 10015 | Water Temp 5
6 | 10016 | Water Temp 6
7 | 10017 | Water Temp 7
8 | 10018 | Water Temp 8
9 | 10019 | Water Temp 9
10 | 10020 | Water Temp 10
11 | 10021 | Water Temp 11
12 | 10022 | Water Temp 12
13 | 10023 | Water Temp 13
14 | 10024 | Water Temp 14
15 | 10025 | Water Temp 15
16 | 10026 | Water Temp 16
17 | 10027 | Water Temp 17
18 | 10028 | Water Temp 18
19 | 10029 | Water Temp 19
20 | 10030 | Pump flow rate 0
21 | 10031 | Pump flow rate 1
22 | 10032 | Pump flow rate 2
23 | 10033 | Pump RPM 0
24 | 10034 | Pump RPM 1
25 | 10035 | Pump RPM 2
26 | 10036 | S0 Manual PV Pos
27 | 10037 | S0 Manual PV Pos
28 | 10038 | S0 Manual PV Pos
29 | 10039 | S0 Manual PV Pos
30 | 10040 | S0 Manual PV Pos
31 | 10041 | S0 Manual PV Pos
32 | 10042 | S0 Manual PV Pos
33 | 10043 | S0 Manual PV Pos
34 | 10044 | S0 Manual PV Pos
35 | 10045 | S0 Manual PV Pos
36 | 10046 | IO water level 0
37 | 10047 | IO water level 1
38 | 10048 | IO water level 2
39 | 10049 | IO water level 3
40 | 10050 | IO water level 4
41 | 10051 | IO water level 5

## WindSpeed
| Address | Content
0 | 10200 | Sensor windspeed 0
1 | 10201 | Sensor windspeed 1
2 | 10202 | Sensor windspeed 2
3 | 10203 | Sensor windspeed 3
4 | 10204 | Sensor windspeed 4
5 | 10205 | Sensor windspeed 5
6 | 10206 | Sensor windspeed 6
7 | 10207 | Sensor windspeed 7
8 | 10208 | Sensor windspeed 8
9 | 10209 | Sensor windspeed 9

## AQM
| Address | Content
0 | 10300 | AQM sensor Temperature 0
1 | 10301 | AQM sensor Temperature 1
2 | 10302 | AQM sensor Temperature 2
3 | 10303 | AQM sensor Temperature 3
4 | 10304 | AQM sensor Temperature 4
5 | 10305 | AQM sensor Temperature 5
6 | 10306 | AQM sensor Temperature 6
7 | 10307 | AQM sensor Temperature 7
8 | 10308 | AQM sensor Temperature 8
9 | 10309 | AQM sensor Temperature 9
10 | 10310 | AQM sensor CO2 0
11 | 10311 | AQM sensor CO2 1
12 | 10312 | AQM sensor CO2 2
13 | 10313 | AQM sensor CO2 3
14 | 10314 | AQM sensor CO2 4
15 | 10315 | AQM sensor CO2 5
16 | 10316 | AQM sensor CO2 6
17 | 10317 | AQM sensor CO2 7
18 | 10318 | AQM sensor CO2 8
19 | 10319 | AQM sensor CO2 9
20 | 10320 | AQM sensor Humidity 0
21 | 10321 | AQM sensor Humidity 1
22 | 10322 | AQM sensor Humidity 2
23 | 10323 | AQM sensor Humidity 3
24 | 10324 | AQM sensor Humidity 4
25 | 10325 | AQM sensor Humidity 5
26 | 10326 | AQM sensor Humidity 6
27 | 10327 | AQM sensor Humidity 7
28 | 10328 | AQM sensor Humidity 8
29 | 10329 | AQM sensor Humidity 9

## Light
| Address | Content
0 | 10400 | Manual Light Intensity 0
1 | 10401 | Manual Light Intensity 1
2 | 10402 | Manual Light Intensity 2
3 | 10403 | Manual Light Intensity 3
4 | 10404 | Manual Light Intensity 4
5 | 10405 | Manual Light Intensity 5
6 | 10406 | Manual Light Intensity 6
7 | 10407 | Manual Light Intensity 7
8 | 10408 | Manual Light Intensity 8
9 | 10409 | Manual Light Intensity 9
10 | 10410 | Auto light intensity 0
11 | 10411 | Auto light intensity 1
12 | 10412 | Auto light intensity 2
13 | 10413 | Auto light intensity 3
14 | 10414 | Auto light intensity 4
15 | 10415 | Auto light intensity 5
16 | 10416 | Auto light intensity 6
17 | 10417 | Auto light intensity 7
18 | 10418 | Auto light intensity 8
19 | 10419 | Auto light intensity 9
20 | 10420 | Light mode 0
21 | 10421 | Light mode 1
22 | 10422 | Light mode 2
23 | 10423 | Light mode 3
24 | 10424 | Light mode 4
25 | 10425 | Light mode 5
26 | 10426 | Light mode 6
27 | 10427 | Light mode 7
28 | 10428 | Light mode 8
29 | 10429 | Light mode 9

## Status
Content
0 | Water/Pump VFD Power
1 | Water/Pump VFD Comm
2 | Water/Pump VFD Motor
3 | Water/Pump VFD PID
4 | Water/Pump VFD Overload
5 | Water/Pump VFD Other
6 | Water/Pump VFD Valve fault
7 | Water/Pump VFD Overflow
8 | Water/Pump Temp range
9 | Water/Pump Tank level (low)
10 | Water/Pump Tank level (high)
11 | Water/Pump Sensor unison
12 | Light burned
13 | Light power trip
14 | Ventilation VFD Comm
15 | Ventilation VFD Power
16 | Ventilation VFD Motor
17 | Ventilation VFD Overload
18 | Ventilation Offline
19 | Ventilation deviation (sensor)
20 | Ventilation humidity
21 | Ventilation CO2
22 | Ventilation Temperature within range
23 | Ventilation VFD status code
24 | PLC1 system
25 | PLC1 IO
26 | PLC2 system
27 | PLC2 IO
28 | PLC transfer